Terms of Reference

For FGK-series Filter Unit

Company: ___________________________________________________________________

Field: ________________________________________________________________

Responsible person: ____________________________________________________________

Phone/fax: ______________________________________________________________________

Email: __________________________________________________________________________

| Seq. No. | Name of Indices | yes / no |
| --- | --- | --- |
| 2. | Filter unit throughput, m3/hr |  |
| 3. | Number of filters of FGK-series, pcs. |  |
| 4. | Maximal working pressure, MPa |  |
| 5. 5.1. 5.2. 5.3. | Pumped fluid characteristics (composition, рН): Fluid temperature at filter inlet, о С Mass concentration of mechanical impurities, % Maximal size of solid particles, mm |  |
| 6. | Degree of fluid filtration, µm |  |
|  | Block-box |  |
| 7. | Class of structural fire safety of filter unit (SNiP 21-01-97) |  |
| 8. | Block-box explosion and fire hazard category |  |
| 9. | Fire-rating of building structures (SNiP 21-01-97) |  |
| 10. | Category of power supply reliability |  |
| 11. | Mode of operation |  |
| 12. | Climatic make of packaged modular building and accommodation category according to GOST 15150-69 |  |
| 13. | Overall dimensions of the filter unit |  |
| 14. 14.1. | Filter Unit (FU) - intake header D n (mm); Р n (MPa), - pressure header D n (mm); Р n (MPa), Stop valves D n (mm); Р n (MPa) - electrically driven; - manually driven; |  |
| 15. | Installation of booster pumps (make), pcs. |  |
| 16. | Power supply control unit (external, internal) |  |
| 17. | Use and selection of electrical equipment |  |
| 18. | Layout of control posts «Emergency Stop of Booster Pumps» |  |
| 19. | Provide for working, emergency, and repair lighting of units, lighting of entrances |  |
| 20. | Availability of outdoor lighting above entrance doors |  |
| 21. | Availability of windows and their layout |  |
| 22. | Heating of the block-box with electric heater (Heater type) |  |
| 23. | Block-box ventilation: - natural inflow-exhaust - mechanical exhaust |  |
| 24. | Automation List of parameters controlled by the automatics system: - fluid pressure in suction lines - fluid pressure in pressure lines - tripping of electrical protection appliances and emergency alarm signals - premise gas contamination using SGOES instruments - pressure drop on filters - air temperature in block-box - unauthorized access to control unit; (VPV-1А) - fire in block-box |  |
| 25. | Provide for completion with inter-block cabling and conductor connections |  |
| 26. | Complete the filter unit with control and measuring instruments and automation according to the list of monitored process parameters |  |
| 27. | Provide for light and sound alarm posts for fire and two gas contamination thresholds, also normal operation check for the outer side of the pump unit |  |
| 28. | Requirements to the construction part: - regulatory wind pressure - design weight of snow cover - General requirement to technical documentation |  |
| 29. | Structural requirements: - provide for a canopy above entrance; - include, into the scope of supply, service platforms with a flight of stairs and handrail (according to PB 08-624-03 п.1.4.16, 1.4.18.) |  |
| 30. | Complete the technical product with documentation |  |

Stamp here___________________ Signature of the Director of Company (Head of Department)

_________________ Printed Name